## WWSP
Bill of Quantity for Sanitation Surplus Equipment - LOT 2A
WWSP |  |  |  |  | 37700
Item# | Description of work | Unit | Quantity | Price per unit | Total price
1 | Supply and deliver of sewer pipes, including all fittings and joints necessary for complete installation
1.1 | Polypropylene (PP) pipes SN8
1.1.1 | PP pipes DN110 | m | 500 | 8 | 4000
1.1.2 | PP pipes DN150 | m |  |  | 0
1.2 | Polypropylene (PP) perforated pipes SN8
1.2.1 | PP 2mm perforated pipes DN110 | m | 20 | 10 | 200
1.2.2 | PP 3mm perforated pipes DN150 | m |  |  | 0
2 | Supply, deliver and installation of sewer appurtenances
2.1 | PP Inspection Chamber DN400 inlet/outlet DN110 / DN150 for house connections and along the sewer pipes, including chamber rider pipe DN400 of 1.5m height; telescopic cover, DN315, B125 with ventilation holes on top (inside house yard, out of vehicle traffic); additional earthworks than those included in the pipe trench (excavation, base preparation and backfill); installation testing | LS | 10 | 300 | 3000
2.2 | PP Inspection Chamber DN400 inlet/outlet DN110 / DN150 for house connections and along the sewer pipes, including chamber rider pipe DN400 of 1,5 m height; telescopic cover, DN315, D400 with ventilation holes on top (for traffic load); additional earthworks than those included in the pipe trench (excavation, base preparation and backfill); water tightness test | LS | 10 | 350 | 3500
3 | Supply and deliver of plastic septic tanks
3.1 | Plastic septic tank type 5PAX and 10PAX (same size) | no. | 2 | 1000 | 2000
3.2 | Provision of sludge level monitoring unit | no. | 10 | 2500 | 25000